Supplementary file for the manuscript: “Chemometric approach for development, optimization and validation of HILIC methods for determination of alkaloids from poppy straw“

Table S1 Experimental data for assessment of the chromatographic response during the Si-HILIC method optimization

| Experiment | x1 (% (v/v) ACN) | x2 (pH) | x3 (mM) | Rs (NS/PV) | k’ (NS) | k’ (MO) |
| --- | --- | --- | --- | --- | --- | --- |
| N1 | 80 | 4.5 | 75 | 0.0 | 0.38 | 4.8 |
| N2 | 95 | 4.5 | 75 | 1.4 | 0.6 | 40.5 |
| N3 | 80 | 6.5 | 75 | 0.0 | 0.3 | 4.1 |
| N4 | 95 | 6.5 | 75 | 2.0 | 0.5 | 31.5 |
| N5 | 80 | 4.5 | 125 | 0.0 | 0.3 | 5.2 |
| N6 | 95 | 4.5 | 125 | 1.4 | 0.5 | 34.7 |
| N7 | 80 | 6.5 | 125 | 0.0 | 0.3 | 4.5 |
| N8 | 95 | 6.5 | 125 | 1.7 | 0.5 | 32.0 |
| N9 | 87.5 | 5.5 | 100 | 0.8 | 0.3 | 8.5 |
| N10 | 87.5 | 5.5 | 100 | 0.8 | 0.3 | 8.5 |
| N11 | 87.5 | 5.5 | 100 | 0.8 | 0.3 | 8.5 |

Table S2 Experimental data for assessment of the chromatographic response during the ZIC-HILIC method development

|  | Acidic profile |  |  |  | Basic profile |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Experiment | x1 (pH) | x2 (mM AmF) | Rs (NS/PV) | k’ (MO) | x2 (pH) | x3 (mM AmAc) | Rs (NS/PV) | k’ (MO) |
| N1 | 3.0 | 10 | 1.9 | 9.9 | 6.0 | 10 | 0.7 | 5.1 |
| N2 | 5.0 | 10 | 2.0 | 9.9 | 8.0 | 10 | 0.9 | 10 |
| N3 | 3.0 | 100 | 0.8 | 9.5 | 6.0 | 100 | 0.7 | 7.1 |
| N4 | 5.0 | 100 | 0.9 | 6.1 | 8.0 | 100 | 0.6 | 4.6 |
| N5 | 3.0 | 45 | 1.0 | 10.9 | 6.0 | 45 | 0.7 | 8.0 |
| N6 | 5.0 | 45 | 2.0 | 10.0 | 8.0 | 45 | 0.7 | 8.2 |
| N7 | 4.0 | 10 | 1.7 | 9.7 | 7.0 | 10 | 0.7 | 8.7 |
| N8 | 4.0 | 100 | 0.7 | 6.1 | 7.0 | 100 | 0.6 | 4.6 |
| N9 | 4.0 | 45 | 1.1 | 10.8 | 7.0 | 45 | 0.7 | 8.1 |
| N10 | 4.0 | 45 | 1.1 | 10.8 | 7.0 | 45 | 0.7 | 8.1 |
| N11 | 4.0 | 45 | 1.1 | 10.8 | 7.0 | 45 | 0.7 | 8.1 |

AmF – Ammonium formate /water, AmAc – Ammonium acetate / water

Table S3 Results obtained from testing different parameters during validation of the Si-HILIC method

| Parameter | Noscapine | Papaverine | Thebaine | Oripavine | Codeine |  | Morphine |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System suitability |  |  |  |  |  |  |  |  |
| tR | 1.36 | 1.51 | 4.14 | 4.67 | 5.84 |  | 7.43 |  |
| k’ | 0.5 | 0.6 | 3.4 | 4.0 | 5.2 |  | 6.9 |  |
| α | / | 1.36 | 5.60 | 1.17 | 1.31 |  | 1.33 |  |
| As | 0.81 | 0.92 | 0.94 | 0.94 | 1.13 |  | 0.81 |  |
| N | 3688 | 7417 | 24252 | 15645 | 9186 |  | 11704 |  |
| Rs | / | 1.9 | 29.7 | 4.2 | 6.0 |  | 6.1 |  |
| RSD (Rt), n=6 | 0.57 | 0.08 | 1.24 | 0.29 | 0.16 |  | 0.37 |  |
| RSD (AUC), n=6 | 0.52 | 1.40 | 0.65 | 0.35 | 0.29 |  | 0.39 |  |
| Specificity (i) |  |  |  |  |  |  |  |  |
| Peak purity ratio | 0.6211 | 0.0896 | 0.0277 | 0.0005 | 0.0001 |  | 0.0001 |  |
| Linearity |  |  |  |  |  |  |  |  |
| Conc. range (µg/ml) | 25 - 150 | 12.5 - 75 | 12.5 - 75 | 12.5 - 75 | 25 - 150 |  | 50 - 300 |  |
| R2 | 0.9999 | 0.9986 | 1.0000 | 1.0000 | 1.0000 |  | 1.0000 |  |
| Intercept | 1.7865 | 5.9983 | 0.3720 | 2.1249 | - 0.1975 |  | - 1.6001 |  |
| Slope | 2.192 | 5.179 | 7.455 | 16.930 | 1.486 |  | 1.398 |  |
| Sensitivity |  |  |  |  |  |  |  |  |
| LOD (µg/ml) | 0.60 | 0.32 | 0.35 | 0.33 | 0.58 |  | 1.10 |  |
| LOQ (µg/ml) | 1.98 | 1.06 | 1.16 | 1.10 | 1.93 |  | 3.66 |  |
| Precision (RSD), % |  |  |  |  |  |  |  |  |
| Analyst 1 (n=6) | 0.52 | 1.40 | 0.65 | 0.35 | 0.29 |  | 0.39 |  |
| Analyst 2 (n=6) | 0.95 | 0.69 | 0.63 | 0.69 | 0.67 |  | 0.69 |  |
| F – test (ii) | 0.26 | 3.61 | 1.06 | 0.25 | 0.18 |  | 0.30 |  |
| Accuracy |  |  |  |  |  |  |  |  |
| Recovery (%, n=3) on 25% of working concentration(iii) | / | (99.5±1.5) | (98.6±3.5) | (99.4±1.7) | (100.1±1.9) |  | (100.2±0.6) |  |
| Recovery (%, n=3) on 50% of working concentration(iii) | / | (99.5±1.0) | (99.4±2.1) | (99.9±1.8) | (100.6±2.7) |  | (99.5±1.3) |  |
| Recovery (%, n=3) on 100% of working concentration(iii) | / | (99.6±1.1) | (99.4±2.3) | (100.6±1.8) | (99.8±1.1) |  | (99.9±1.4) |  |

Rt - retention time, k’- retention factor, α – selectivity, As- Symmetry factor, N – Number of theoretical plates, Rs – Resolution, AUC –peak area

(i) The peak purity of the peaks corresponding to the alkaloids in the sample solution was determined using ChemStation for LC 3D software for data handling

(ii) F=SD21/SD22, (DF1=n1-1 and DF2=n2-1); F (table) =14.94 for α=0.005

(iii) P (95% confidence interval)

Table S4 Results obtained from testing different parameters during validation of the ZIC-HILIC method

| Parameter | Noscapine | Papaverine | Thebaine | Oripavine | Codeine |  | Morphine |
| --- | --- | --- | --- | --- | --- | --- | --- |
| System suitability |  |  |  |  |  |  |  |
| tR | 1.92 | 2.08 | 5.98 | 6.31 | 6.72 |  | 7.78 |
| k’ | 0.9 | 1.1 | 5.0 | 5.3 | 5.7 |  | 6.8 |
| α | / | 1.18 | 4.19 | 1.07 | 1.08 |  | 1.19 |
| As | 0.83 | 0.81 | 0.77 | 0.76 | 0.71 |  | 0.78 |
| N | 5614 | 5982 | 38369 | 32330 | 24233 |  | 16114 |
| Rs | / | 1.9 | 33.2 | 2.5 | 2.6 |  | 5.1 |
| RSD (Rt), n=6 | 0.09 | 0.09 | 0.06 | 0.06 | 0.07 |  | 0.07 |
| RSD (AUC), n=6 | 0.11 | 0.13 | 0.06 | 0.05 | 0.06 |  | 0.05 |
| Specificity (i) |  |  |  |  |  |  |  |
| Peak purity ratio | 0.2160 | 0.0196 | 0.0277 | 0.0051 | 0.0073 |  | 0.0003 |
| Linearity |  |  |  |  |  |  |  |
| Conc. range (µg/ml) | 25 - 150 | 12.5 - 75 | 12.5 - 75 | 12.5 - 75 | 25 - 150 |  | 50 - 300 |
| R2 | 1.0000 | 1.0000 | 0.9998 | 0.9999 | 0.9998 |  | 1.0000 |
| Intercept | -0.3059 | - 6.8861 | - 17.5848 | - 10.7322 | - 6.7387 |  | - 3.0912 |
| Slope | 6.83 | 20.66 | 32.30 | 31.01 | 6.63 |  | 6.01 |
| Sensitivity |  |  |  |  |  |  |  |
| LOD (µg/ml) | 0.57 | 0.30 | 0.31 | 0.30 | 0.60 |  | 1.07 |
| LOQ (µg/ml) | 1.73 | 0.91 | 0.93 | 0.90 | 1.80 |  | 3.24 |
| Precision (RSD), % |  |  |  |  |  |  |  |
| Analyst 1 (n=6) | 0.11 | 0.13 | 0.06 | 0.05 | 0.06 |  | 0.05 |
| Analyst 2 (n=6) | 0.18 | 0.11 | 0.07 | 0.06 | 0.03 |  | 0.03 |
| F – test (ii) | 0.67 | 2.54 | 1.34 | 1.08 | 8.01 |  | 8.26 |
| Accuracy |  |  |  |  |  |  |  |
| Recovery (%, n=3) on 25% of working concentration(iii) | (98.5±2.5) | (98.6±2.5) | (97.8±2.1) | (98.2±1.9) | (98.9±1.7) |  | (99.0±1.6) |
| Recovery (%, n=3) on 50% of working concentration(iii) | (99.0±1.2) | (99.1±0.9) | (99.6±1.6) | (99.2±1.4) | (99.0±2.1) |  | (99.5±1.0) |
| Recovery (%, n=3) on 100% of working concentration(iii) | (99.6±1.4) | (99.3±1.2) | (99.8±0.9) | (99.7±0.8) | (100.1±1.0) |  | (99.9±0.6) |

tR - retention time, k’- retention factor, α – selectivity, As- Symmetry factor, N – Number of theoretical plates, Rs – Resolution, AUC –peak area

(i) The peak purity of the peaks corresponding to the alkaloids in the sample solution was determined using ChemStation for LC 3D software for data handling

(ii) F=SD21/SD22, (DF1=n1-1 and DF2=n2-1); F (table) =14.94 for α=0.005

(iii) P (95% confidence interval)

Table S5 Results obtained from testing the robustness of the Si-HILIC and ZIC-HILIC methods (23 CCCD)

|  | Robustness testing of the Si-HILIC method |  |  |  | Robustness testing of the ZIC-HILIC method |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Experimental factors |  |  | Response | Experimental factors |  |  | Response |
| Experiment | Column temp. (˚С) | Mobile phase рН | ACN content (% v/v) | Rs (NS/PV) | Column temp. (˚С) | Mobile phase рН | ACN content (% v/v) | Rs (NS/PV) |
| N1 | 25 | 4.4 | 93 | 1.5 | 35 | 3.5 | 93 | 2.2 |
| N2 | 35 | 4.4 | 93 | 1.6 | 45 | 3.5 | 93 | 1.6 |
| N3 | 25 | 4.6 | 93 | 1.5 | 35 | 4.5 | 93 | 1.8 |
| N4 | 35 | 4.6 | 93 | 1.4 | 45 | 4.5 | 93 | 1.5 |
| N5 | 25 | 4.4 | 97 | 0.6 | 35 | 3.5 | 97 | 2.3 |
| N6 | 35 | 4.4 | 97 | 0.5 | 45 | 3.5 | 97 | 1.9 |
| N7 | 25 | 4.6 | 97 | 0.6 | 35 | 4.5 | 97 | 2.1 |
| N8 | 35 | 4.6 | 97 | 0.7 | 45 | 4.5 | 97 | 1.7 |
| N9 | 25 | 4.5 | 95 | 1.9 | 35 | 3.5 | 95 | 1.7 |
| N10 | 35 | 4.5 | 95 | 1.9 | 45 | 4.5 | 95 | 1.4 |
| N11 | 30 | 4.4 | 95 | 1.0 | 40 | 4.4 | 95 | 1.5 |
| N12 | 30 | 4.6 | 95 | 2.0 | 40 | 4.0 | 95 | 1.4 |
| N13 | 30 | 4.5 | 93 | 1.4 | 40 | 4.0 | 93 | 1.2 |
| N14 | 30 | 4.5 | 97 | 0.8 | 40 | 4.0 | 97 | 1.9 |
| N15 | 30 | 4.5 | 95 | 1.9 | 40 | 4.0 | 95 | 1.6 |
| N16 | 30 | 4.5 | 95 | 1.9 | 40 | 4.0 | 95 | 1.6 |
| N17 | 30 | 4.5 | 95 | 1.9 | 40 | 4.0 | 95 | 1.6 |